## 1. Sample prep
1. Gargle Preparation
check here
heat block to 95˚
collect HBSS and QE or prepared samples
gargle if needed
add 1/100 1M DTT to gargle, close lid, invert several times
incubate 10 min at RT
vortex QE aliquot for 30 sec
add Gargle to QE 1:1, immediately mix very well
optional: incubate 10 min at RT
incubate 5 min at 95˚
put samples on ice
optional: add synthetic template
> Sample ready

## 2. RT reaction
2. RT reaction
check here
|  | Per reaction | 1000 | enter number of reactions here
Nuclease free | H2O | 13.8 | 13800
10X | RT buffer | 2.5 | 2500
| RT primer mix | 2 | 2000 |  |  |  | RT primer mix | Per reaction | 110 | enter number of reactions here
25 mM | dNTPs | 0.5 | 500 |  |  |  | H2O | 1.25 | 137.5 | ul
| 1M DTT | 0.1 | 100 |  |  | 100um | random hexamers | 0.25 | 27.5 | ul
[6 empty] | 100um | N1 specific primer 1 | 0.25 | 27.5 | ul
| mix well by pipetting 10X |  |  |  |  | 100um | N3 specific primer 2 | 0.25 | 27.5 | ul
Takara | RNAse Inh. | 0.5 | 500 |  |  |  | sum | 2 | 220 | ul
Thermo | SS III | 0.5 | 500
10,000copies/ul Stock | 1000 cp./20ul Ribo spike-in | 0.1 | 100
| sum | 20 | 20000
mix well by pipetting 10X, distribute into PCR plates
add 5 ul of sample per reaction well
RT program in PCR machine:
| 25˚ | 5 min
| 55˚ | 15 min
| 95˚ | 3 min
| 12˚ | for ever
do not take out before! - plastic gets deformed if removed hot

## 3. PCR1
3. PCR1
check here if you feel confident
| PCR primer mix |  | each well: | 5 | ul
(Ribo, N1 and N3 provided in 96-well plates)
distribute the set of 96 primer mixes to each plate that underwent RT
(for barcoding every reaction)
Alternatively, pre-mix primers and PCR top-up mix and add both together to the RT reactions
Prepared in two batches
[5 empty] | 1000 | enter number of reactions here
Nuclease free | H2O |  |  | 16.43 | 16430
10X | PCR top up buffer |  |  | 2.5 | 2500
100 mM(NEB) | dUTP |  |  | 0.07 | 70
Promega | Hot start Taq |  |  | 0.5 | 500
NEB | UDG |  |  | 0.5 | 500
| sum |  |  | 20
mix well by pipetting 10X, distribute into PCR plates
MIX 5ul PRIMERS AND 20 TOP UP MIX/reaction
ADD 25ul per RT reaction
optional: add primers and mix seperately
PCR program in PCR machine:
| 30˚ | 10min
| 95˚ | 3 min
| 95˚ | 20 sec
| 58˚ | 30 sec
| 72˚ | 20 sec
| GOTO 3 | 44X
| 72˚ | 2 min
| 12˚ | for ever

## 4.Pooling and exostar treatment
4. PCR pooling and processing
All samples from each plate are pooled into one tube using plastic reservoirs. 20ul from each well is taken for pooling.
Pooled samples are transferred to a new 96-well plate or a PCR strip if fewer plates are processed
Exostar treatment to digest left-over primers and dNTPs
Pooled sample | 5ul
Illustra exostar | 2ul
mix well by pipetting 10X
Incubation
| 37˚ | 30 min
| 80˚ | 15 min
| 12˚ | for ever

## 5. PCR2
5. "Sequencing-ready" PCR
check here if you really did it
|  |  | Per reaction | 3 | enter number of reactions here
| H2O |  | 31.43 | 94.29
10X | Standard PCR Buffer 2 |  | 5 | 15
25mM | dNTPs |  | 0.5 | 1.5
100mM | dUTP |  | 0.07 | 0.21
mix 10X up and down
| add TAQ |  | 0.5 | 1.5
mix 10X up and down
| add to plate: |  | 37.5
| NGS primer mix |  | 10
Standard i5/i7 combinations provided in 96-well plates from NEB, Illumina or others
| Exostar treated Sample |  | 2.5
| Sum: |  | 50 | 150
PCR program
|  | 95˚ | 3 min
|  | 95˚ | 20 sec
|  | 65˚ | 30 sec
|  | 72˚ | 30 sec
|  | GOTO 2 | 7X
|  | 72˚ | 2 min
|  | 12˚ | for ever

## 6. NGS Sample prep
6. Sample Prep for NGS
Gel purification:
Optional: run analytical gel to confirm successful amplification for all samples
Pool all samples equimolar, we typically pool 20ul per sample/plate
Run agarose gel and excise band at around 250bp
Gel purification using spin columns, we use e.g. Qiagen kit
Quantification:
In order to ensure fast turnaround, the preparation of libraries for Illumina sequencing was optimized empirically. In the first four sequencing runs, standard quality control of the library, including Qubit measurement, a size
analysis and qPCR, was performed. A correlation between the concentration measurement by Qubit and the qPCR was detected. In every case the molarity determined by qPCR was 10x higher than the concentration measured by
Qubit. Thus, we can omit the size analysis and the qPCR, which are both time consuming. Eventually the library concentration is determined by 3 independent Qubit measurements, the obtained value in ng/ul is multiplied by
10 and used as the molarity of the sample in nanomolar. This procedure enables us to start the sequencer within a 15 min time frame after receiving the sequencing library. Final preparation of the sequencing run happens
according to Illuminas guidelines, including denaturation of the sample, neutralization and final dilution for sequencing.
Sequencer loading:
Depending on the sequencer type, the following concentrations were used for sequencing:
MiSeq V2 chemistry: 10 pM, MiSeq V3 chemistry: 15 pM NextSeq550 high output: 2.2 pM, NextSeq550 medium output: 1.3 pM. In every sequencing run 10 % of PhiX library were spiked-in to increase complexity.
To avoid contaminations with barcodes from previous sequencing runs, the sequencers were washed with bleach according to Illuminas guidelines before every run.
v2
| read 1 | 103
| index | 9
| index | 9
| read 2 | 45
irgendeinen index angeben

## Myseq sample sheet
[Header]
IEMFileVersion | 4
Experiment Name | COVID-TEST
Date | 2020-10-07
Workflow | GenerateFASTQ
Application | FASTQ Only
Assay | TruSeq HT
Description
Chemistry | Amplicon
[Reads]
103
45
[Settings]
ReverseComplement | 0
[Data]
Sample_ID | Sample_Name | Sample_Plate | Sample_Well | I7_Index_ID | index | I5_Index_ID | index2 | Sample_Project | Description
COVID-T |  |  |  | D701 | NNNNNNNNN | D501 | NNNNNNNNN