## Sheet1
Sample# | Sample type | Ct | RT-PCR result | Swab buffer | Test results t(30) min (0-negative, 1-positive) | Test results t(40) min (0-negative, 1-positive) | Comments
1 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
2 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
3 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
4 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
5 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
6 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
7 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
8 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
9 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
10 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
11 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
12 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
13 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
14 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
15 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
16 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
17 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
18 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
19 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
20 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
21 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
22 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
23 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
24 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
25 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
26 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
27 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
28 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
29 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
30 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
31 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
32 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
33 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
34 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
35 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
36 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
37 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
38 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
39 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
40 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
41 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
42 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
43 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
44 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
45 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
46 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
47 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
48 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
49 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
50 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
51 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
52 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
53 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
54 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
55 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
56 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
57 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
58 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
59 | Swab | - | 0 | 15 ml falcon orenge cup clear buffer | 0 | 0
60 | Swab | - | 0 | 15 ml falcon orenge cup clear buffer | 0 | 0
61 | Swab | - | 0 | 15 ml falcon orenge cup clear buffer | 0 | 0
62 | Swab | - | 0 | 15 ml falcon orenge cup clear buffer | 0 | 0
63 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
64 | Swab | + | 1 | Serological tube blue cup yellow buffer | 1 | 1 |  | Sample was diagnosed as positive in RHCC but RT-PCR CTwas not available
65 | Swab | + | 1 | Serological tube red cup Pink buffer | 1 | 1 |  | Sample was diagnosed as positive in RHCC but RT-PCR CTwas not available
66 | Swab | 35.22 | 1 | Serological tube blue cup yellow buffer | 0 | 0
67 | Swab | - | 0 | Falcon 15 ml Blue cap redish buffer | 0 | 0 | Following lysis there is a huge precipitant
68 | Swab | 25.87 | 1 | Falcon 15 ml Blue cap redish buffer | 0 | 0 | Following lysis there is a huge precipitant
69 | Swab | 18.76 | 1 | Falcon 15 ml Blue cap redish buffer | 1 | 1 | Following lysis there is a huge precipitant
70 | Swab | - | 0 | Falcon 15 ml Blue cap redish buffer | 0 | 0 | Following lysis there is a huge precipitant
71 | Swab | + | 1 | 15 ml falcon orenge cup clear buffer | 0 | 0 |  | Sample was diagnosed as positive in RHCC but RT-PCR CTwas not available
72 | Swab | + | 1 | 15 ml falcon orenge cup clear buffer | 1 | 1 |  | Sample was diagnosed as positive in RHCC but RT-PCR CTwas not available
73 | Swab | + | 1 | Falcon 15 ml Blue cap redish buffer | 0 | 0 | Following lysis there is a huge precipitant | Sample was diagnosed as positive in RHCC but RT-PCR CTwas not available
74 | Swab | 34.46 | 1 | Falcon 15 ml Blue cap redish buffer | 0 | 0 | Following lysis there is a huge precipitant
75 | Swab | 32.31 | 1 | 15 ml falcon orenge cup clear buffer | 0 | 0
76 | Swab | 27.51 | 1 | Falcon 15 ml Blue cap redish buffer | 0 | 0 | Following lysis there is a huge precipitant
77 | Swab | 19.58 | 1 | Serological tube red cup Pink buffer | 0 | 0
78 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
79 | Swab | 15.51 | 1 | 15 ml falcon orenge cup clear buffer | 1 | 1
80 | Swab | - | 0 | 15 ml falcon orenge cup clear buffer | 0 | 0
81 | Swab | 24.22 | 1 | Serological tube red cup Pink buffer | 1 | 1
82 | Swab | 30.47 | 1 | 15 ml falcon orenge cup clear buffer | 0 | 0
83 | Swab | 21.8 | 1 | Serological tube red cup Pink buffer | 0 | 0
84 | Swab | 23 | 1 | Serological tube red cup Pink buffer | 0 | 0
85 | Swab | 27.8 | 1 | Serological tube red cup Pink buffer | 1 | 1
86 | Swab | 37 | 1 | Serological tube red cup Pink buffer | 0 | 0
87 | Swab | 32 | 1 | Serological tube red cup Pink buffer | 0 | 0
88 | Swab | 26.72 | 1 | Serological tube red cup Pink buffer | 0 | 0
89 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
90 | Swab | 35.6 | 1 | Falcon 15 ml Blue cap redish buffer | 0 | 0 | Following lysis there is a huge precipitant
91 | Swab | 32.6 | 1 | Serological tube red cup Pink buffer | 0 | 0
92 | Swab | 31.95 | 1 | Serological tube red cup Pink buffer | 0 | 0
93 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
94 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
95 | Swab | - | 0 | Serological tube red cup Pink buffer | 0 | 0
96 | Swab | 35.3 | 1 | Serological tube red cup Pink buffer | 0 | 0
97 | Swab | 26.7 | 1 | Serological tube red cup Pink buffer | 0 | 0
98 | Swab | 28.72 | 1 | Serological tube red cup Pink buffer | 0 | 0
99 | Swab | - | 0 | Falcon 15 ml Blue cap redish buffer | 0 | 0 | Following lysis there is a huge precipitant